# Creek County Sheriff EOC Phase II - Signage Takeoff

## Bid Information

- Project: Creek County Sheriff, EOC Phase II

- Bid Number: 26-5

- Bid Due: January 12, 2026, 8:59 AM

- Pre-Bid Meeting: Mandatory, December 17, 2025, 2:00 PM

## Signage Scope Summary

| Qty | Sign Type | Description | Sheet Reference |
| --- | --- | --- | --- |
| 19 | Door Sign with Insert | Standard ADA room ID with changeable insert | A9-02 (Schedule), Detail 5/A9-05 |
| 6 | Door Sign - (1) Line | Standard ADA room ID, single line of text | A9-02 (Schedule), Detail 2/A9-05 |
| 6 | Stair Type 1 | Floor level identification for stairs | A9-02 (Schedule), Detail 4/A9-06 |
| 5 | Restrooms | Standard ADA restroom signs | A9-02 (Schedule), A9-05 (Details) |
| 4 | Stair Type 2 | Alternative stair signage format | A9-02 (Schedule), Detail 6/A9-06 |
| 3 | Evacuation Plan | Framed evacuation route maps | A9-02 (Schedule) |
| 1 | Exterior Signage | "GENERATOR" sign | A9-02 (Schedule), Detail 7/A9-06 |
| 44 | Total Signs |  |  |

## Key Drawing References

Signage Schedule:

- Sheet A9-02: Complete signage schedule listing all 44 signs with room names and locations

Floor Plans:

- Sheet A9-03: First Floor Signage Plan (shows sign locations on 1st floor)

- Sheet A9-04: Second Floor Signage Plan (shows sign locations on 2nd floor)

Details:

- Sheet A9-05: Signage Details

  - Detail 2/A9-05: Door Sign - (1) Line

  - Detail 5/A9-05: Door Sign with Insert

  - Restroom sign details

- Sheet A9-06: Signage Details

  - Detail 4/A9-06: Stair Type 1

  - Detail 6/A9-06: Stair Type 2

  - Detail 7/A9-06: Exterior Signage

## Specifications

- Section: 10 14 23.16 - Room-Identification Panel Signage

- Material: Laminated acrylic panel (photopolymer face sheet over acrylic backing)

- Graphics: Raised characters and Braille

- Mounting: Two-face tape (manufacturer's standard)

- Approved Manufacturers: Amax Sign Company, Oklahoma Contract Interiors-Takeform

## Important Notes

This is a comprehensive interior signage package with 44 signs of various types. The project includes standard ADA room identification, stairwell signage, evacuation plans, and one exterior sign. All signs are specified as laminated acrylic panels with raised text and Braille, mounted with two-face tape. The bid is due January 12, 2026, with a mandatory pre-bid meeting on December 17, 2025.